	COMING TO TERMS WITH AIR CONDITIONERS

Here are some common terms you will come across when comparing and determining the best choice for air conditioners:

COMPONENTS OF AN AIR CONDITIONER
The refrigerant is a substance that circulates through the air conditioner, alternately absorbing, transporting and releasing heat.

A coil is a system of tubing loops through which refrigerant flows and where heat transfer takes place. The tubing may have fins to increase the surface area available for heat exchange. 

The evaporator is a coil that allows the refrigerant to absorb heat from its surroundings, causing the refrigerant to boil and become a low-temperature vapour. 

The compressor squeezes the molecules of the refrigerant gas together, increasing the pressure and temperature of the refrigerant.

The condenser is a coil that allows the refrigerant gas to give off heat to its surroundings and become a liquid.

The expansion device releases the pressure created by the compressor. This causes the temperature to drop and the refrigerant to become a low-temperature vapour/liquid mixture. 

The plenum is an air compartment that forms part of the system for distributing warmed or cooled air through the house. It is generally a large compartment immediately above the heat exchanger.

OTHER TERMS
A Btu/h or British thermal unit per hour, is a measure of the heat output of a heating system. One Btu is the amount of heat energy given off by a typical birthday candle. If this heat energy were released over the course of one hour, it would be the equivalent of 1 Btu/h.

A kW or kilowatt, is equal to 1000 watts. This is the amount of power required by ten 100-watt light bulbs. A ton is a measure of cooling capacity. It is equivalent to 3.5 kW or 12 000 Btu/h.

The capacity of an air conditioner is a measure of the maximum rate at which it can remove heat from the conditioned space. Capacity is expressed in British thermal units per hour or tons and is determined under a specific set of est conditions.

The cooling load also stated in British thermal units per hour, is the maximum amount of heat that builds up in a space without a cooling system operating. It is calculated to determine the capacity of air conditioner required.

Heat gain is a term applied to various components of the heat load, such as appliance heat gain and solar heat gain. All of the heat gain components are summed to calculate the cooling load.

Oversizing is the practice of selecting an air conditioner with a cooling capacity greater than the cooling load.

Undersizing is the practice of selecting an air conditioner with a cooling capacity smaller than the cooling load.

The energy efficiency ratio (EER) is a measure of how much cooling effect is provided by the air conditioner for each unit of electrical energy that it consumes under steady-state operation. It is determined by dividing the cooling output of the unit, in British thermal units per hour, by the electrical power input, in watts, at a specific temperature. The higher the EER, the more efficient the unit.

The seasonal energy efficiency ratio (SEER) is a measurement of the cooling efficiency of the air conditioner over the entire cooling season. It is determined by dividing the total cooling provided over the cooling season, in British thermal units per hour, by the total energy used by the air conditioner during that time, in watt/hours. The SEER is based on a climate with an average summer temperature of 28°C.

The bel (B) is a unit of sound measurement equivalent to 10 dB (decibels). One bel is the threshold of human audibility. The sound level in a busy typing and accounting office would be approximately 6.5 B.


	Основные термины и комплектующие части кондиционеров. 
Сравнивая показатели и определяясь в выборе лучших кондиционеров, нужно знать несколько основных понятий и терминов.  
Составные элементы кондиционера

Охладитель (хладагент) - вещество, которое циркулирует внутри кондиционера, чередуя поглощение, перемещение и выброс тепла.

Спираль -  система трубных петлевых компенсаторов в кондиционере, где течет хладагент и перемещается тепло. Для увеличения поверхности доступной площади теплового обмена трубы могут иметь оребрение.

Испаритель –  спираль, позволяющая хладагенту поглощать тепло из окружающей среды, заставляя его кипеть, превращаясь в низкотемпературный пар.  
Компрессор – сжимает вместе молекулы хладагента, повышая его давление и температуру

Конденсатор – спираль, позволяющая хладагенту  выделать тепло в окружающую среду и становиться жидкостью.

Дросселирующее устройство высвобождает давление, созданное компрессором. Это  вызывает снижение температуры, превращая хладагент в низкотемпературную жидкость (жидкую субстанцию). 

Пленум – вентиляционное отделение, формирующее часть системы распределения нагретого или охлажденного воздуха по помещению. В общем, это большое отделение сразу над теплообменником. 

Другие обозначения. 

Btu/h или британская тепловая единица в час - это мера измерения отводимой теплоты системой обогрева.  Одна Btu равна сумме тепловой энергии, выделяемой обычной свечкой. Тепловая энергия, освобождаемая по истечении одного часа, будет эквивалентна 1 Btu/h.
kW или киловатт, равен 1000 ватт. Эта сумма энергии требуемая десяти 100-ватным лампочкам. Тонна – это мера измерения охлаждающей способности. Она равна 3,5  kW или12 000 Btu/h.
Производительность кондиционера – это мера измерения максимальной скорости удаления тепла из охлаждаемого помещения. Производительность выражается в британских тепловых единицах в час или тоннах и определяется по конкретному ряду оценок режима. 

Тепловую нагрузку также принято измерять в британских тепловых единицах в час, это максимальная сумма тепла, формируемая в пространстве без работы системы охлаждения. Она подсчитывается для определения производительности указанного кондиционера. 
Теплоприток – термин, применяемый для различных составляющих тепловой нагрузки, таких как электрический теплоприток или приток солнечного тепла. Для расчета тепловой нагрузки  все составляющие теплопритока суммируются. 

Превышение номинального размера –  выбор кондиционера с охлаждающей способностью большей, чем тепловая нагрузка.
Уменьшение номинального размера – выбор кондиционера с охлаждающей способностью меньшей, чем тепловая нагрузка.  
Энергетический коэффициент полезного действия (ЭКПД) -  измерение холодопроизводительности, обеспеченной кондиционером на каждую единицу потребленной электрической энергии в режиме постоянной эксплуатации. Определяется отношением охлаждающей мощности кондиционера, выраженной в британских тепловых единицах в час, к потребляемой электрической энергии, в ваттах, при конкретной температуре. Чем выше ЭКПД, тем выше эффективность устройства.

Сезонный энергетический коэффициент полезного действия (СЭКПД) -  измерение холодопроизводительности кондиционера за сезон работы. Определяется отношением общей охлаждающей мощности выработанной за сезон, в британских тепловых единицах в час, к суммарной электрической энергии, потребляемой кондиционером в течение этого времени, в ваттах/час. СЭКПД определяется при климатических условиях со среднелетней температурой 28°C. 
B – это единица измерения звука эквивалентно 10 dB (децибелам). Один децибел - порог человеческого слуха. Уровень звука в оживленном машинном бюро или бухгалтерии будет равен примерно 6,5 B.     



