Ref. N 56 dated 29.03.2016 

To Head of Fire Safety Department of Bukhara region
Facility: “Base camp and Non-Process area” of gas processing plant located in the territory of Karakul district, Bukhara region. 
According to the letter from «POLARIS PROJECT» dated September 3, 2015 № 118, a fire water tank shall be installed  in order to ensure additional fire safety measures in the territory of facilities and settlements located in front of the gas processing plant, Karakul district, Bukhara region.
Two fire water tanks are located in the territory of the plant, whereas one tank of 50 m3 is located in the territory of non-process area designed for education and training of firefighters on water withdrawal from the tank. 

             Director                                                 Efimov E.Yu.

To Efimov E.Yu.
Director of “Polaris Project” LLC 
with participation of foreign capital

Fire Safety Department of the Department of Internal Affairs of Bukhara region has considered your letter №56 dated March 29, 2016 and reports the following: 

Considering two existing fire water reservoirs of 3318 cubic meters and a laid ring network of fire hydrants shown in the plot plan of Kandym CPF, we have no objection to designing of fire water tank in the territory of non-process area for educational and training purposes of firefighters.

Head of department		Zoirov Kh.N.

.

Ref. № 57 dated 29.03.2016 

Sanitary-Epidemiological Station of Bukhara region 
Facility: “Base camp and non-process area” of gas processing plant located in the territory of Karakul district, Bukhara region. 
We kindly ask you to consider and approve the Plot plan of the Base camp and Non-Process area. 
Explanation for wastewater treatment is given in the attachment.
Attachment:

Explanation – 2 sheets
Drawings – 35 sheets
CPF plot plan – 1 sheet A-1 format
Copy of Urban Planning Department – 1 sheet

             Director                                    Efimov E. Yu.