The Sample solution was prepared six times and analysed according to the analytical procedure.

The indicator of repeatability is the relative standard deviation (RSD %) of impurity D and total related substances content.

Since the results of impurity D in the Sample solution are below the Quantitation limit (QL), the method precision was performed six times using the spiked sample at 0.3 % of impurity D relative to the working concentration of amlodipine in Sample solution.

The linearity of the relationship between the test results (peak areas, y) and the concentration (x) of diluted series of amlodipine besilate Standard solutions were examined in the range from about 0.08 µg/mL (corresponds to Quantitation limit (QL) of amlodipine) to about 4.1 µg/mL (corresponds to about 1 % relative to the working concentration in the Sample solution).

The solutions were injected three times.

A visual evaluation (graphical presentation of data and residuals) and a calculation of linear regression (slope, intercept, intercept in % (bias), calculation of correlation coefficient) were performed.

Accuracy was validated by analysing a synthetic mixture of drug product components (placebo) with losartan potassium standard at the working concentration (2 mg/mL), to which were added known amounts of amlodipine besilate standard relative to the working concentration of amlodipine in the Sample solution prescribed in the analytical procedure.

Three Sample solutions at reporting level, at specification limit and 150 % of specification limit for unknown related substances were prepared and analysed once.

In rodents, the two enantiomers of pantoprazole inhibited pentagastrin-induced gastric acid secretion in a dose-dependent manner.

The intravenous ED50 values of the (+) and (-) enantiomers were 0.15 and 0.145 mg/kg, respectively.

IV pretreatment with pantoprazole inhibited 2-deoxy-d-glucose-stimulated gastric secretion.

Secretory volume was decreased, but acid concentration was unaffected.

The ED50 values for inhibition of secretory volume and acid output were identical at 0.25 mg/kg.

Likewise, pantoprazole IV inhibited bethanechol- induced gastric acid secretion in a dose-dependent manner.

ED50 values for inhibition of secretory volume and acid output were identical at 0.5 mg/kg.