Ref. # 29/3-1-1116

Date: 30 March, 2016

To:  Mr. Jae Sig Choi

The Head of “Hyundai Engineering, Ltd”

In Reply to your letter Ref.:  #HEC-UKAN-217

Dated 30.03.2016

Having considered your letter, we are sending you the preliminary list of special stationary equipment (unit) for mandatory equipment of  fire security division for protection of CPF complex and Base Camp.

1. High pressure air compressor (to fill in breathing apparatus) in the amount of 1 pcs to be installed in the main fire station.

2. Equipment (unit) for hose binding  1 pcs., to be  installed in the main fire station.

3. Hot air heater (or other similar equipment) for heating rooms (dryers) to dry hoses 1pcs per each fire station.

4. Hot air heater (or other similar equipment) for heating rooms (dryers) to dry general service uniform  1 pcs per each fire station.

5. Grinding machine 1 pcs to be installed in the main fire station.

In case of obtaining and installation of drying apparatus, i.e. hot air heater for drying fire hoses, the installation of a drying unit on the sport tower is not necessary.

Zuparov S. T.

Deputy chief of the Main Department